{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["אור יהודה 2016"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":1},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"אור יהודה 2016","index":0,"n_rows":96,"n_cols":17,"rows_kept":96,"cut":false,"hidden":false,"merged":[[5,0,8,3]]}
[]
[]
[]
[]
[]
["תוצאות חריגות בבקרת שפכים - אור יהודה 2016"]
[]
[]
[]
[]
["מגזר","(הכל)"]
[]
["שם העסק"]
[null,null,"105°C מרחפים ב  TSS","TSS למפעלי ציפוי מתכות","בור-B-Boron","דטרגנטים אניונים","הגבה-pH","זרחן-Phosphorus","חנקן קלדל","כלורידים-Chlorides","כסף-Ag-Silver","נחושת-Cu-Copper","נתרן-Na-Sodium","סולפידים-Sulfides","צ.ח.כ כללי-COD total","שמן מינרלי - Mineral Oil","שמנים כלליים-Total Oils"]
[null,null,"400/1000 מ\"ג/ליטר","30 מ\"ג/ליטר","1.5 מ\"ג/ליטר","40 מ\"ג/ליטר","U-10 L-6","15 מ\"ג/ליטר","50 מ\"ג/ליטר","430 מ\"ג/ליטר","0.1 מ\"ג/ליטר","1 מ\"ג/ליטר","230 מ\"ג/ליטר","1 מ\"ג/ליטר","800/2000 מ\"ג/ליטר","20 מ\"ג/ליטר","200 מ\"ג/ליטר"]
["אולמי אקסייט (גני סאם)","2016-03-29",0,0,0,49.5,5.23,23.780999999999999,0,685,0,0,428,0,2455,0,0]
["אולמי דניאל","2016-03-10",0,0,0,55.5,0,22.948,0,604,0,0,452,0,3285,0,0]
[null,"2016-07-14",0,0,0,0,4.93,23.712,0,633,0,0,431,0,3115,0,0]
[null,"2016-10-26",0,0,0,0,5.6,0,0,0,0,0,270,0,2310,0,0]
["אולמי קינגסטון","2016-05-09",1193,0,0,0,5.39,0,0,0,0,0,0,0,3700,0,715]
[null,"2016-07-19",844,0,0,0,5.54,0,0,0,0,0,0,0,2590,0,0]
[null,"2016-11-28",591,0,0,0,0,0,0,0,0,0,0,0,2045,0,347]
["אוריאנה","2016-03-10",0,0,0,169,0,0,0,0,0,0,260,0,4040,0,0]
[null,"2016-07-07",515,0,0,0,4.9400000000000004,21.576000000000001,0,0,0,0,0,0,3325,0,0]
[null,"2016-10-26",0,0,0,0,5.28,21.396000000000001,0,0,0,0,0,0,3185,0,0]
[null,"2016-12-21",0,0,0,0,0,0,0,0,0,0,340,0,2640,0,0]
["אטליז שרעבי","2016-04-18",0,0,0,0,0,0,66,0,0,0,0,0,1365,0,0]
[null,"2016-07-26",0,0,0,0,0,0,58,0,0,0,0,0,1055,0,0]
[null,"2016-11-09",0,0,0,0,0,25.445,60,0,0,0,0,0,0,0,0]
["אליקים בן ארי","2016-07-04",463,0,0,0,0,16.044,0,0,0,0,0,0,0,65,0]
[null,"2016-11-14",0,0,0,0,0,0,0,0,0,0,0,0,0,28,0]
["אצל התורכי","2016-12-26",0,0,0,0,5.37,0,0,0,0,0,0,0,2190,0,0]
["בית סיעודי - צומת סביון","2016-05-18",0,0,0,0,0,0,0,0,0,0,0,0,1725,0,0]
[null,"2016-07-25",0,0,0,0,0,0,0,0,0,0,0,0,1935,0,0]
[null,"2016-11-02",583,0,0,0,4.9000000000000004,0,0,0,0,0,0,0,2665,0,0]
[null,"2016-12-21",472,0,0,0,0,0,0,0,0,0,0,0,1380,0,0]
["האחים שקורי בשרים","2016-05-17",0,0,0,0,0,0,0,0,0,0,0,0,970,0,0]
[null,"2016-07-26",0,0,0,0,0,0,114,0,0,0,0,0,1920,0,0]
[null,"2016-11-22",0,0,0,0,0,16.475000000000001,151,0,0,0,0,2.8,3445,0,0]
[null,"2016-12-28",0,0,0,0,0,0,0,0,0,0,0,0,1290,0,0]
["הרמיטאג' (ברייט הול)","2016-04-18",0,0,0,0,0,27.939,0,0,0,0,0,0,3000,0,0]
[null,"2016-08-29",665,0,0,0,5.48,0,0,0,0,0,269,0,2720,0,402]
[null,"2016-11-09",1154,0,0,0,0,20.414999999999999,0,0,0,0,0,0,2310,0,0]
["חיים לגזיאל מעדני בשר","2016-09-01",0,0,0,0,0,0,91,0,0,0,0,0,0,0,0]
[null,"2016-11-22",0,0,0,0,0,0,0,0,0,0,0,8,1455,0,0]
["יינות ביתן (כמעט חינם) אור יהודה","2016-03-10",0,0,0,0,5.12,19.751000000000001,0,0,0,0,0,0,2530,0,0]
[null,"2016-07-07",0,0,0,0,0,0,0,0,0,0,0,0,920,0,0]
[null,"2016-12-21",0,0,0,0,5.19,18.27,0,0,0,0,261,0,1840,0,0]
["מאפיית ברכת הארץ","2016-03-10",0,0,0,0,5.78,0,0,0,0,0,0,0,2160,0,0]
[null,"2016-08-24",1294,0,0,0,0,0,0,0,0,0,0,0,6955,0,0]
[null,"2016-11-22",0,0,0,0,5.43,0,0,0,0,0,0,0,1575,0,0]
[null,"2016-12-28",920,0,0,0,4.7699999999999996,0,0,0,0,0,0,0,4245,0,593]
["מאפיית הכוהנים ","2016-03-10",0,0,0,0,0,0,0,0,0,0,0,0,1495,0,0]
[null,"2016-12-26",0,0,0,0,0,0,0,0,0,0,0,0,1150,0,0]
["מאפית וינסטו השלום","2016-04-18",0,0,0,0,0,0,0,0,0,0,0,0,905,0,0]
[null,"2016-07-18",0,0,0,0,0,0,0,0,0,0,0,0,939,0,0]
[null,"2016-10-31",0,0,0,0,0,0,0,0,0,0,0,0,1090,0,0]
["מגדלי הים התיכון","2016-05-18",0,0,0,0,0,0,0,0,0,0,0,0,1010,0,0]
[null,"2016-12-21",0,0,0,0,0,0,0,0,0,0,378,0,0,0,0]
["מוסך וולבו חנן שפיק","2016-04-18",504,0,0,0,0,0,0,0,0,0,0,0,3355,170,0]
[null,"2016-07-18",0,0,0,0,0,0,0,0,0,0,0,0,0,212,0]
[null,"2016-10-27",0,0,0,0,0,0,0,0,0,0,0,0,0,254,0]
[null,"2016-12-26",0,0,0,0,0,0,0,0,0,0,0,0,0,52,0]
["מסעדת סעיד","2016-05-10",0,0,0,0,0,20.638999999999999,0,0,0,0,0,0,1080,0,0]
["מסעדת פארוק","2016-05-25",800,0,0,0,0,0,0,0,0,0,283,0,2940,0,0]
[null,"2016-08-24",972,0,0,0,0,0,0,0,0,0,0,0,3150,0,397]
[null,"2016-11-22",681,0,0,0,0,0,0,489,0,0,0,0,2635,0,0]
[null,"2016-12-26",629,0,0,0,0,0,0,0,0,0,0,0,1530,0,0]
["מסעדת פסטורלי ","2016-04-20",3070,0,0,187.5,9.620000000000001,52.980000000000004,0,1003,0,0,691,0,18425,0,525]
[null,"2016-07-21",0,0,0,0,5.09,18.187999999999999,0,534,0,0,341,0,3210,0,0]
[null,"2016-11-01",4614,0,0,0,4.87,0,0,465,0,0,354,0,2975,0,0]
[null,"2016-12-22",0,0,0,0,5.24,0,0,567,0,0,486,0,2735,0,0]
["מפגש אנטבה","2016-05-10",0,0,0,0,5.34,24.183,0,0,0,0,0,0,2060,0,0]
[null,"2016-08-24",0,0,0,0,5.0599999999999996,17.117000000000001,0,0,0,0,272,0,2590,0,349]
[null,"2016-11-28",730,0,0,0,5.58,28.276,0,0,0,0,0,0,2605,0,0]
["סיטי סטאר","2016-12-29",0,0,0,0,0,0,0,0,0,0,525,0,1159,0,0]
["עדי קייטרינג","2016-05-17",0,0,0,0,4.6399999999999997,50,120,554,0,0,400,0,3940,39,0]
[null,"2016-07-25",0,0,0,0,5.2,32.037999999999997,82,474,0,0,332,0,2365,0,0]
[null,"2016-11-02",0,0,0,0,0,23.443000000000001,0,0,0,0,0,0,1760,0,0]
[null,"2016-12-22",584,0,0,0,0,55.427999999999997,163,568,0,0,558,0,7600,0,0]
["קייטרינג עבדאללה ובניו","2016-05-09",0,0,0,0,5.39,0,0,0,0,0,320,0,3705,0,0]
[null,"2016-07-14",0,0,0,0,5.29,0,0,0,0,0,0,0,2545,0,0]
[null,"2016-10-26",856,0,0,0,4.93,32.295000000000002,0,0,0,0,0,0,2575,0,0]
[null,"2016-12-21",0,0,0,0,5.35,18.213000000000001,0,0,0,0,343,0,4540,0,0]
["קניון עזריאלי אור יהודה (קנאור)","2016-07-14",0,0,0,0,5.35,0,0,0,0,0,0,0,1810,0,0]
[null,"2016-11-01",0,0,0,0,5.5,0,0,0,0,0,0,0,1535,0,0]
["קפה ג'ו + רימון","2016-03-29",0,0,0,0,5.51,0,0,0,0,0,339,0,3170,0,0]
[null,"2016-08-30",0,0,0,0,4.9400000000000004,0,0,0,0,0,0,0,3335,0,0]
[null,"2016-11-09",903,0,0,0,4.84,0,0,0,0,0,0,0,3760,0,0]
[null,"2016-12-28",0,0,0,0,5.35,0,0,0,0,0,0,0,3635,0,0]
["שלוותה אירועים בע\"מ ","2016-12-26",0,0,0,0,0,0,0,0,0,0,0,0,1630,0,0]
["תחנת תדלוק סונול קרן","2016-07-19",0,0,0,0,0,0,0,0,0,0,0,0,0,36,0]
["תכשיטי כהן","2016-05-17",0,57,3.319,0,0,0,0,0,0.21,0,0,0,0,0,0]
[null,"2016-07-25",0,0,3.669,0,0,0,0,0,0.18,0,0,0,970,0,0]
[null,"2016-11-02",0,0,6.2869999999999999,0,0,0,0,0,0.315,0,0,0,1221,0,0]
[null,"2016-12-22",0,0,5.6470000000000002,0,0,0,0,0,0.79,1.83,0,0,0,0,0]