{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["אזור 2016"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":1},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"אזור 2016","index":0,"n_rows":51,"n_cols":15,"rows_kept":51,"cut":false,"hidden":false,"merged":[[6,0,9,3]]}
[]
[]
[]
[]
[]
[]
["תוצאות חריגות בבקרת שפכים - אזור 2016"]
[]
[]
[]
[]
[]
[]
[]
["מגזר","(הכל)"]
[]
["שם המפעל"]
[null,null,"105°C מרחפים ב  TSS","בור-B-Boron","הגבה-pH","זרחן-Phosphorus","חנקן קלדל","כלורידים-Chlorides","מוליבדן-Mo-Molybdenum","נחושת-Cu-Copper","נתרן-Na-Sodium","סולפידים-Sulfides","צ.ח.כ כללי-COD total","שמן מינרלי - Mineral Oil","שמנים כלליים-Total Oils"]
[null,null,"400/1000 מ\"ג/ליטר","1.5 מ\"ג/ליטר","U-10 L-6","15 מ\"ג/ליטר","50 מ\"ג/ליטר","430 מ\"ג/ליטר","0.15 מ\"ג/ליטר","1 מ\"ג/ליטר","230 מ\"ג/ליטר","1 מ\"ג/ליטר","800/2000 מ\"ג/ליטר","20 מ\"ג/ליטר","200 מ\"ג/ליטר"]
["(לשעבר בלמון) B4U","2016-02-17",0,0,0,0,0,0,0,0,0,0,1150,0,0]
[null,"2016-06-08",0,0,0,0,0,0,0,0,0,0,12400,31,0]
[null,"2016-09-13",0,0,0,0,0,0,0,0,0,0,1725,0,0]
[null,"2016-11-29",0,0,5.81,0,0,0,0,0,0,0,1980,27,0]
["אופיס","2016-02-18",0,0,0,0,0,0,0,0,0,0,1105,0,0]
["בית הבשר גינדי","2016-02-18",0,0,0,206.821,129,648,0,0,633,0,1580,0,0]
[null,"2016-06-09",0,0,0,44.241999999999997,138,0,0,0,0,0,1655,0,0]
[null,"2016-09-14",0,0,0,96.718000000000004,136,580,0,0,551,4.4000000000000004,1845,0,0]
[null,"2016-12-07",0,0,0,146.267,122,0,0,0,0,0,1189,0,0]
["האופה מבגדד","2016-02-15",591,0,5.31,20.087,0,0,0,0,0,0,4425,0,0]
[null,"2016-06-06",973,0,5.04,0,60,0,0,0,318,0,5350,0,494]
[null,"2016-09-13",813,0,4.57,0,53,0,0,0,0,0,2605,0,340]
[null,"2016-11-30",1380,0,4.32,18.77,96,0,0,0,0,0,4945,0,296]
["מוסך אקספרס","2016-02-16",0,0,0,0,0,0,0,0,0,0,0,132,0]
[null,"2016-06-06",0,3.665,0,64.674999999999997,0,0,1.016,0,399,0,0,438,0]
[null,"2016-09-15",0,0,5.5,59.488999999999997,0,0,0.24299999999999999,0,270,0,0,32,0]
[null,"2016-12-07",0,0,0,47.134999999999998,0,0,0,0,0,0,0,0,0]
["מוסך שריף את חנא","2016-02-15",0,0,5,0,0,0,0.50700000000000001,0,0,0,3770,0,0]
[null,"2016-06-06",0,0,0,0,0,0,0,0,0,0,0,29,0]
[null,"2016-11-29",0,3.3730000000000002,5.37,0,0,0,0,1.1379999999999999,0,0,0,39,0]
["ממתקי השלום","2016-02-18",0,0,0,0,0,0,0,0,0,0,9500,0,0]
[null,"2016-06-08",0,0,5.05,0,0,0,0,0,0,0,4585,0,0]
[null,"2016-09-12",0,0,4.53,0,0,0,0,0,0,0,2665,0,0]
["קבוצת אלון","2016-06-08",0,0,0,0,0,0,0,0,0,0,0,70,0]
[null,"2016-09-15",558,0,0,0,0,0,0,0,0,0,0,73,0]
["קווין סיטי (אולמי הנסיכה)","2016-02-15",0,0,4.95,0,0,0,0,0,0,0,1705,0,0]
[null,"2016-06-06",886,0,5.31,0,0,0,0,0,324,0,37200,0,0]
["קומפי מיטל","2016-02-17",0,0,0,0,0,0,0,0,0,0,1260,0,0]
[null,"2016-09-13",0,0,0,0,0,0,0,0,0,0,2995,241,0]
[null,"2016-11-29",0,0,0,0,0,0,0,0,0,0,2015,0,0]
["קפה ארומה-אזור","2016-02-15",990,0,4.8899999999999997,0,0,0,0,0,0,0,2715,0,0]
[null,"2016-06-06",863,0,5.12,0,0,0,0,0,0,0,3415,0,301]