{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["תוצאות חריגות 2015"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":1},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"תוצאות חריגות 2015","index":0,"n_rows":64,"n_cols":15,"rows_kept":64,"cut":false,"hidden":false,"merged":[[5,0,8,3]]}
[]
[]
[]
[]
[]
["תוצאות חריגות בבקרת שפכים - אזור 2015"]
[]
[]
[]
[]
[]
[]
[]
[null,"לסינון לחץ כאן"]
[]
[]
["מגזר","(הכל)"]
["רבעון","(הכל)"]
[]
["שם המפעל"]
[null,null,"105°C מרחפים ב  TSS","אבץ-Zn-Zinc","בור-B-Boron","הגבה-pH","זרחן-Phosphorus","חנקן קלדל","כלורידים-Chlorides","מוליבדן-Mo-Molybdenum","נחושת-Cu-Copper","נתרן-Na-Sodium","צ.ח.כ כללי-COD total","שמן מינרלי - Mineral Oil","שמנים כלליים-Total Oils"]
[null,null,"400/1000 מ\"ג/ליטר","3 מ\"ג/ליטר","1.5 מ\"ג/ליטר","U-10 L-6","15 מ\"ג/ליטר","50 מ\"ג/ליטר","430 מ\"ג/ליטר","0.15 מ\"ג/ליטר","1 מ\"ג/ליטר","230 מ\"ג/ליטר","800/2000 מ\"ג/ליטר","20 מ\"ג/ליטר","200 מ\"ג/ליטר"]
["(לשעבר בלמון) B4U","2015-02-09T12:43:18",0,0,0,0,0,0,0,0,0,0,2190,0,0]
[null,"2015-06-01T11:52:15",0,0,0,0,0,0,0,0,0,0,1715,0,0]
[null,"2015-08-31T12:45:18",0,0,0,0,0,0,0,0,0,0,2170,28,0]
[null,"2015-11-01T12:21:03",0,0,0,0,0,0,0,0,0,0,1410,0,0]
["אופיס","2015-02-16T11:52:15",0,0,0,0,0,0,0,0,0,0,1670,0,0]
[null,"2015-06-03T12:47:59",0,0,0,10.19,0,0,0,0,0,0,0,0,0]
[null,"2015-09-02T13:02:32",0,0,0,0,0,0,0,0,0,0,1940,0,0]
["בית הבשר גינדי","2015-06-03T12:06:06",0,0,0,0,41.378999999999998,212,452,0,0,326,2235,0,0]
[null,"2015-08-31T13:48:55",0,0,0,0,37.268999999999998,122,663,0,0,462,1525,0,0]
[null,"2015-11-01T12:05:42",0,0,0,0,49.850999999999999,122,0,0,0,346,963,0,0]
[null,"2015-12-01T13:42:05",0,0,0,0,0,0,0,0,0,330,0,0,0]
[null,"2015-12-01T14:01:59",0,0,0,0,0,0,0,0,0,330,0,0,0]
["האופה מבגדד","2015-02-09T11:54:57",561,0,0,4.95,0,0,0,0,0,0,3985,0,0]
[null,"2015-06-01T10:19:56",467,0,0,4.68,0,0,0,0,0,235,3325,0,0]
[null,"2015-08-26T09:59:10",675,0,0,4.3600000000000003,0,69,0,0,0,0,3865,0,0]
[null,"2015-11-17T12:19:42",0,0,0,4.7300000000000004,0,0,0,0,0,281,2145,0,0]
["מוסך אייזיק","2015-06-08T11:15:36",1458,8.1590000000000007,7.819,5.19,121.85,0,0,0.54900000000000004,3.02,0,8825,233,0]
["מוסך איכות ","2015-02-16T11:07:32",0,0,0,10.14,0,0,0,0,0,590,0,0,0]
["מוסך אקספרס","2015-03-24T11:51:49",0,0,1.944,5.91,127.32,0,0,0,0,394,9980,212,0]
[null,"2015-06-08T11:52:30",0,0,1.5209999999999999,0,92.334999999999994,0,0,0.184,0,422,7165,212,0]
[null,"2015-08-26T11:55:29",0,0,2.6890000000000001,5.3,44.646999999999998,0,0,0.35599999999999998,0,0,6310,196,0]
[null,"2015-11-29T10:07:26",0,0,0,11.26,149.018,0,0,0.30099999999999999,0,593,7050,126,0]
["מוסך שריף את חנא","2015-03-24T12:15:27",0,0,1.998,5.92,0,0,0,0,0,0,2855,0,0]
[null,"2015-06-03T10:52:17",0,0,0,5.89,0,0,0,0,0,0,1430,32,0]
[null,"2015-11-17T11:38:56",0,0,1.6459999999999999,4.8099999999999996,0,0,0,0,0,0,3270,0,0]
["ממתקי השלום","2015-02-16T10:10:07",0,0,0,4.3,0,0,0,0,0,0,14600,0,0]
[null,"2015-06-01T13:08:17",0,0,0,4.3499999999999996,0,0,0,0,0,0,15100,0,0]
[null,"2015-09-02T13:44:43",0,0,0,0,0,0,0,0,0,0,2455,0,0]
[null,"2015-11-17T11:17:26",0,0,0,4.1900000000000004,0,0,0,0,0,0,9305,0,0]
["מסעדת אלברט","2015-11-29T11:05:53",815,0,0,0,16.951000000000001,0,0,0,0,0,2380,0,0]
["קבוצת אלון","2015-03-24T12:48:19",0,0,0,0,0,0,0,0,0,0,1835,0,0]
[null,"2015-08-26T11:08:07",701,0,0,0,0,0,0,0,0,0,4420,35,0]
[null,"2015-11-29T10:23:25",0,0,0,0,0,0,0,0,0,0,990,24,0]
["קווין סיטי (אולמי הנסיכה)","2015-02-09T12:09:53",0,0,0,4.75,0,0,0,0,0,0,2450,0,0]
[null,"2015-06-01T11:24:56",827,0,0,5.26,0,0,0,0,0,0,2305,0,0]
[null,"2015-08-26T10:14:47",1040,0,0,0,24.535,0,0,0,0,362,3955,0,404]
["קומפי מיטל","2015-04-16T12:00:11",0,0,0,0,0,0,0,0,0,0,5735,0,0]
[null,"2015-08-31T13:06:43",0,0,0,0,0,56,0,0,0,0,6930,35,0]
["קפה ארומה-אזור","2015-07-21T11:00:41",1833,0,0,4.71,0,0,0,0,0,0,4405,0,390]
[null,"2015-11-03T10:35:47",1067,0,0,4.8899999999999997,0,0,0,0,0,0,3925,0,382]
[null,"2015-12-16T13:48:46",886,0,0,0,0,0,0,0,0,0,8570,0,475]
["ת. דלק  קמעונאות בדרכים (שערי דלק)","2015-03-24T11:26:51",0,0,0,0,0,0,0,0,0,0,0,65,0]