{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["תוצאות חריגות"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":1},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"תוצאות חריגות","index":0,"n_rows":137,"n_cols":19,"rows_kept":137,"cut":false,"hidden":false,"merged":[[5,0,8,3]]}
[]
[]
[]
[]
[]
["תוצאות חריגות בבקרת שפכים - אור יהודה 2015"]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"לסינון לחץ כאן"]
[]
["מגזר","(הכל)"]
["רבעון","(הכל)"]
[]
["שם העסק"]
[null,null,"105°C מרחפים ב  TSS","TSS למפעלי ציפוי מתכות","אבץ-Zn-Zinc","בור-B-Boron","דטרגנטים אניונים","הגבה-pH","זרחן-Phosphorus","חנקן קלדל","כלורידים-Chlorides","כסף-Ag-Silver","מוליבדן-Mo-Molybdenum","נחושת-Cu-Copper","נתרן-Na-Sodium","סולפידים-Sulfides","צ.ח.כ כללי-COD total","שמן מינרלי - Mineral Oil","שמנים כלליים-Total Oils"]
[null,null,"400/1000 מ\"ג/ליטר","30 מ\"ג/ליטר","3 מ\"ג/ליטר","1.5 מ\"ג/ליטר","40 מ\"ג/ליטר","U-10 L-6","15 מ\"ג/ליטר","50 מ\"ג/ליטר","430 מ\"ג/ליטר","0.1 מ\"ג/ליטר","0.15 מ\"ג/ליטר","1 מ\"ג/ליטר","230 מ\"ג/ליטר","1 מ\"ג/ליטר","800/2000 מ\"ג/ליטר","20 מ\"ג/ליטר","200 מ\"ג/ליטר"]
["אולמי אקסייט (גני סאם)","2015-08-24T12:17:00",3303,0,0,0,0,5.25,0,0,0,0,0,0,0,0,9400,0,1655]
[null,"2015-10-25T12:35:47",2550,0,0,0,0,4.96,0,0,0,0,0,0,0,0,9955,0,2297]
[null,"2015-12-28T13:15:27",1030,0,0,0,0,0,0,0,0,0,0,0,0,0,3100,0,337]
["אולמי דניאל","2015-04-21T11:49:29",572,0,0,0,0,0,17.138000000000002,0,556,0,0,0,447,0,3730,0,0]
[null,"2015-07-02T11:49:16",0,0,0,0,0,5.62,0,0,618,0,0,0,522,0,2300,0,0]
[null,"2015-10-15T11:25:20",0,0,0,0,64.5,5.38,28.233000000000001,0,0,0,0,0,340,0,3350,0,0]
[null,"2015-12-02T12:01:25",0,0,0,0,67.5,0,16.797000000000001,0,618,0,0,0,479,0,2755,0,0]
["אולמי קינגסטון","2015-04-29T13:42:20",1195,0,0,0,56,5.01,25.58,0,694,0,0,0,402,0,4680,0,513]
[null,"2015-08-12T14:31:30",1137,0,0,0,0,5.27,0,0,0,0,0,0,0,0,4580,0,617]
[null,"2015-11-01T10:01:49",1534,0,0,0,84.5,4.84,32.54,0,509,0,0,0,449,0,6110,0,667]
[null,"2015-12-15T13:06:15",644,0,0,0,58,5.34,19.073,0,887,0,0,0,583,0,3075,0,0]
["אוריאנה","2015-05-11T10:26:24",0,0,0,0,70.5,0,0,0,0,0,0,0,246,0,2685,0,0]
[null,"2015-08-05T12:06:32",723,0,0,0,95,4.67,39.94,0,542,0,0,0,377,0,4880,0,280]
[null,"2015-10-14T12:29:32",1230,0,0,0,0,4.9000000000000004,37.334000000000003,0,0,0,0,0,268,0,5515,0,302]
[null,"2015-11-29T11:45:00",0,0,0,0,93,0,25.094999999999999,0,0,0,0,0,0,0,3215,0,0]
["אטליז שרעבי","2015-07-20T15:15:21",0,0,0,0,0,0,36.545999999999999,84,0,0,0,0,0,1.2,1007,0,0]
[null,"2015-11-01T12:26:33",0,0,0,0,0,0,0,63,0,0,0,0,0,0,1100,0,0]
[null,"2015-12-01T11:58:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1005,0,0]
["אליקים בן ארי","2015-06-11T10:39:39",0,0,0,0,0,0,0,0,0,0,0.24299999999999999,0,0,0,1310,56,0]
[null,"2015-08-19T11:06:41",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,0]
["אצל התורכי","2015-08-12T11:40:38",0,0,0,0,0,5.45,0,0,0,0,0,0,0,0,1845,0,0]
[null,"2015-10-18T13:06:54",669,0,0,0,0,5.27,0,0,0,0,0,0,0,0,2545,0,0]
[null,"2015-12-02T13:52:06",0,0,0,0,0,4.71,0,0,0,0,0,0,0,0,1950,0,0]
["בית סיעודי - צומת סביון","2015-05-26T11:39:49",0,0,7.2270000000000003,0,0,3.92,176.208,0,0,0,0,0,0,0,1305,0,0]
[null,"2015-08-24T13:04:48",0,0,0,0,0,5.36,0,0,0,0,0,0,0,0,2255,0,0]
[null,"2015-10-14T11:18:15",0,0,0,0,0,4.8,0,0,0,0,0,0,0,0,2030,0,0]
[null,"2015-12-15T11:17:12",0,0,0,0,0,0,0,0,0,0,0,0,300,0,1735,0,0]
["גולד סנטר","2015-05-11T11:48:43",0,0,0,10.750999999999999,0,0,0,0,0,0.13100000000000001,0,0,0,0,0,0,0]
[null,"2015-08-11T14:04:52",0,375,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"2015-12-27T13:12:29",0,0,0,2.9969999999999999,0,0,0,0,0,0.96199999999999997,0,0,0,0,0,0,0]
["האחים שקורי בשרים","2015-05-19T13:39:33",0,0,0,0,0,0,15.762,139,0,0,0,0,0,1.4,1840,0,0]
[null,"2015-08-10T12:30:20",0,0,0,0,0,0,33.883000000000003,273,0,0,0,0,0,0,2630,0,0]
[null,"2015-10-18T13:55:14",1272,0,0,0,0,0,24.658000000000001,216,0,0,0,0,236,8.1999999999999993,4205,0,362]
[null,"2015-12-27T14:51:18",0,0,0,0,0,11.95,17.649999999999999,169,0,0,0,0,758,0,3560,0,0]
["המטבח של טובה (ישן)","2015-04-30T12:23:19",0,0,0,0,0,0,0,0,0,0,0,0,0,0,975,0,0]
["חיים לגזיאל מעדני בשר","2015-08-25T13:00:32",0,0,0,0,0,0,0,0,0,0,0,0,0,6.2,0,0,0]
["יינות ביתן (כמעט חינם) אור יהודה","2015-04-21T12:27:56",0,0,0,0,0,5.32,18.154,0,0,0,0,0,0,0,1710,0,0]
[null,"2015-07-28T12:50:39",0,0,0,0,0,4.99,0,0,0,0,0,0,0,0,1401,0,0]
[null,"2015-10-15T11:46:25",1623,0,6.0209999999999999,0,80,5.66,0,0,0,0,0,0,0,0,5970,0,471]
[null,"2015-11-29T11:03:00",0,0,0,0,0,5.9,0,0,0,0,0,0,0,0,1530,0,0]
["מאסטרביס מזון והסעדה בע\"מ (המטבח של טובה)","2015-07-05T11:43:06",0,0,0,0,166,5.66,0,0,0,0,0,0,0,0,2335,0,0]
[null,"2015-10-12T12:13:23",1763,0,0,0,52,0,18.591999999999999,0,0,0,0,0,0,0,5130,0,466]
[null,"2015-12-01T12:30:00",2138,0,0,0,120,0,0,0,0,0,0,0,0,0,28300,0,314]
["מאפיית ברכת הארץ","2015-02-26T11:32:15",0,0,0,0,0,4.99,0,0,0,0,0,0,237,0,2500,0,0]
[null,"2015-05-26T10:20:45",0,0,0,0,0,5.17,0,0,0,0,0,0,0,0,3805,0,317]
[null,"2015-07-05T12:40:04",0,0,0,0,0,5.0999999999999996,0,61,0,0,0,0,310,0,3070,0,0]
[null,"2015-10-18T12:46:34",1316,0,0,0,0,5.74,0,0,0,0,0,0,0,0,7165,0,761]
["מאפיית הכוהנים ","2015-02-26T11:55:50",0,0,0,0,0,0,0,0,617,0,0,0,476,0,1385,0,0]
[null,"2015-07-05T13:00:38",0,0,0,0,0,5.22,0,0,0,0,0,0,290,0,2180,0,0]
[null,"2015-10-18T12:20:12",0,0,0,0,0,0,0,0,0,0,0,0,242,0,0,0,0]
[null,"2015-12-02T12:28:02",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1095,0,0]
["מאפית וינסטו השלום","2015-05-13T10:55:44",1328,0,0,0,0,5.98,58.173999999999999,57,0,0,0,0,346,0,3490,0,266]
[null,"2015-07-29T13:04:04",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1060,58,0]
["מגדלי הים התיכון","2015-10-14T10:54:17",0,0,0,0,0,0,0,0,0,0,0,0,0,0,980,0,0]
[null,"2015-12-15T10:51:43",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1580,0,0]
["מגה בול (לשעבר מגה)","2015-04-21T13:07:22",713,0,0,0,0,0,0,0,0,0,0,0,0,0,1285,0,0]
[null,"2015-08-05T13:31:03",0,0,0,0,0,5.1100000000000003,30.010999999999999,0,0,0,0,0,0,0,5415,0,0]
[null,"2015-10-15T12:05:30",557,0,0,0,0,0,0,0,0,0,0,0,0,0,2030,0,0]
[null,"2015-11-29T10:45:00",608,0,0,0,0,0,0,0,0,0,0,0,0,0,1020,0,0]
["מוסך א.מ.ואחיו","2015-02-26T10:08:11",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,28,0]
[null,"2015-05-26T13:12:32",0,0,0,1.6240000000000001,0,0,0,0,0,0,0,0,0,0,0,0,0]
["מוסך וולבו חנן שפיק","2015-05-19T11:24:08",924,0,0,0,0,0,0,0,0,0,0,0,0,0,2095,94,0]
[null,"2015-07-29T14:47:16",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1620,0,0]
[null,"2015-12-15T11:47:01",753,0,0,0,0,0,0,0,0,0,0,0,0,0,1900,37,0]
["מוסך סרבי","2015-12-01T11:35:00",0,0,0,0,0,0,22.562999999999999,0,0,0,0,0,0,0,1165,0,0]
["מסעדת ברטה","2015-04-30T10:48:53",0,0,0,0,0,5.69,30.343,0,1142,0,0,0,435,0,1755,0,0]
[null,"2015-07-21T11:41:54",0,0,0,0,0,5.41,0,0,800,0,0,0,335,0,1315,0,0]
["מסעדת סמרקנד","2015-04-29T10:14:49",934,0,0,0,56,0,0,0,0,0,0,0,0,0,5825,0,583]
["מסעדת סעיד","2015-07-28T14:26:56",0,0,0,0,0,4.8499999999999996,0,0,532,0,0,0,377,0,1555,0,0]
[null,"2015-11-01T10:40:09",567,0,0,0,0,5.32,31.745000000000001,0,0,0,0,0,0,0,2790,0,0]
[null,"2015-12-06T12:42:07",0,0,0,0,72,0,0,0,0,0,0,0,0,0,1310,0,0]
["מסעדת פארוק","2015-05-19T14:25:02",518,0,0,0,0,5.17,67.052999999999997,0,2587,0,0,0,1664,0,10100,0,0]
[null,"2015-07-29T12:12:40",0,0,0,0,68.5,10.23,0,0,0,0,0,0,372,0,1610,0,0]
[null,"2015-12-28T12:56:36",470,0,0,0,0,0,0,0,0,0,0,0,308,0,2345,0,0]
["מסעדת פסטורלי ","2015-05-19T12:12:18",2790,0,4.0060000000000002,0,190,4.8600000000000003,36.752000000000002,0,833,0,0,0,560,0,14800,0,1839]
[null,"2015-07-20T14:02:33",6465,0,0,0,179,4.68,71.286000000000001,0,1435,0,0,0,920,0,32700,0,1746]
[null,"2015-10-12T13:07:06",1164,0,0,0,0,5.04,18.146000000000001,0,820,0,0,0,443,0,5305,0,355]
[null,"2015-12-01T13:00:00",938,0,0,0,99.5,4.6900000000000004,65.724000000000004,0,1249,0,0,0,889,0,9700,0,0]
["מפגש אנטבה","2015-04-29T13:12:07",0,0,0,0,0,5.37,0,0,973,0,0,0,641,0,1955,0,0]
[null,"2015-07-28T11:40:31",0,0,0,0,60.5,5.56,0,0,661,0,0,0,463,0,1965,0,0]
[null,"2015-11-01T11:29:12",567,0,0,0,0,4.66,0,0,825,0,0,0,603,0,2695,0,0]
[null,"2015-12-06T12:57:03",582,0,0,0,0,4.74,0,0,0,0,0,0,0,0,2805,0,0]
["סיטי סטאר","2015-02-26T10:40:23",534,0,0,0,0,5.01,77.510000000000005,0,689,0,0,0,494,0,2410,0,266]
[null,"2015-05-26T13:20:33",0,0,0,0,0,0,0,0,706,0,0,0,548,0,3215,0,0]
[null,"2015-08-05T12:35:28",0,0,0,0,0,0,27.495000000000001,0,1040,0,0,0,764,0,2795,0,257]
[null,"2015-10-14T12:48:56",742,0,0,0,0,4.7300000000000004,22.701000000000001,0,671,0,0,0,497,0,3715,0,270]
[null,"2015-12-02T12:51:20",732,0,0,0,81.5,0,0,0,665,0,0,0,470,0,3050,0,288]
["עדי קייטרינג","2015-04-30T13:36:52",626,0,0,0,0,0,18.288,69,559,0,0,0,339,0,5800,0,0]
[null,"2015-07-21T12:53:09",0,0,0,0,0,5.54,0,0,0,0,0,0,0,0,1130,0,0]
[null,"2015-11-01T12:04:57",1014,0,0,0,0,4.8600000000000003,15.977,81,0,0,0,0,278,0,3955,0,0]
[null,"2015-12-28T14:29:24",1128,0,0,0,0,0,335.03100000000001,474,1799,0,0,0,2351,0,9585,0,816]
["פאי בשרים","2015-04-30T11:59:40",0,0,0,0,0,0,0,0,0,0,0,0,304,0,2255,0,0]
[null,"2015-08-10T12:53:12",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1190,0,0]
["קייטרינג עבדאללה ובניו","2015-04-21T11:35:19",0,0,0,0,0,4.9400000000000004,19.212,0,765,0,0,0,468,0,5245,0,0]
[null,"2015-07-02T12:47:51",0,0,0,0,95.5,4.7,0,0,505,0,0,0,392,0,4680,0,0]
[null,"2015-10-15T12:33:18",983,0,0,0,0,5.39,25.911999999999999,0,666,0,0,0,470,0,4020,0,0]
[null,"2015-11-29T11:12:40",0,0,0,0,104,0,0,0,0,0,0,0,0,0,4465,0,312]
["קפה ג'ו + רימון","2015-04-29T10:48:57",0,0,0,0,0,5.12,0,0,0,0,0,0,352,0,2580,0,0]
[null,"2015-08-10T11:27:13",0,0,0,0,268,5.59,0,0,0,0,0,0,267,0,2200,0,0]
[null,"2015-10-14T13:08:29",552,0,0,0,0,4.8099999999999996,0,0,0,0,0,0,0,0,2940,0,0]
[null,"2015-12-02T13:32:53",496,0,0,0,0,4.97,0,0,0,0,0,0,0,0,3305,0,0]
["שאול בשרים","2015-04-30T11:22:06",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1364,0,0]
[null,"2015-10-12T12:44:11",486,0,0,0,0,0,0,0,0,0,0,0,0,0,1000,0,0]
["שי לי מרכז שרות לרכב (מוסך ג'וסטו)","2015-05-13T10:25:49",639,0,0,0,0,0,0,0,0,0,0,0,0,0,1055,63,0]
[null,"2015-07-29T13:38:55",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1620,83,0]
[null,"2015-10-26T12:31:35",743,0,0,0,0,0,0,0,0,0,0,0,0,0,1760,292,0]
[null,"2015-12-27T12:09:37",977,0,0,0,0,0,0,0,0,0,0,0,0,0,11600,99,0]
["שלוותה אירועים בע\"מ ","2015-04-29T11:25:44",0,0,0,0,0,5.97,0,0,0,0,0,0,0,0,2125,0,0]
[null,"2015-07-05T14:11:14",644,0,0,0,0,0,20.814,0,0,0,0,0,0,0,3035,0,0]
[null,"2015-10-14T12:17:39",537,0,0,0,0,5.32,21.664999999999999,0,437,0,0,0,324,0,3205,0,0]
[null,"2015-12-15T14:01:59",2344,0,0,0,0,0,93.795000000000002,0,638,0,0,0,875,0,18400,0,1449]
["תכשיטי כהן","2015-05-11T11:16:05",0,65,0,2.1230000000000002,122,0,0,0,0,0.49399999999999999,0,1.175,0,0,1236,0,0]
[null,"2015-07-21T12:14:15",0,0,0,7.29,0,0,0,0,0,0.39400000000000002,0,0,0,0,0,0,0]
[null,"2015-10-12T10:34:32",0,40,0,4.2869999999999999,125,0,0,0,0,0.48199999999999998,0,0,0,0,0,0,0]
[null,"2015-12-28T13:43:26",0,0,0,7.4480000000000004,0,0,0,0,0,0.27800000000000002,0,0,0,0,988,0,0]